School District No. 50 (Haida Gwaii/Queen Charlotte)

Facility Inspection Checklist

School: 							Date:

| 1. Records & Documentation |
| --- |
| Yes | No | N/A |  | Comments |
| ( | ( | ( | A. Emergency plan is accessible to all staff. |  |
| ( | ( | ( | B. Current map of asbestos-containing material available in office. |  |
| ( | ( | ( | C. Asbestos-containing material labels in place. |  |
| ( | ( | ( | D. Accident/Incident Record Book |  |

| 2. Walking Surfaces |
| --- |
| Yes | No | N/A |  | Comments |
| ( | ( | ( | A. Hallways and passageways unobstructed |  |
| ( | ( | ( | B. Stairs and stairways unobstructed |  |
| ( | ( | ( | C. Floors and stairs in good condition |  |
| ( | ( | ( | D. Mats available in entrances |  |
| ( | ( | ( | E. Guardrails and handrails in good condition |  |
| ( | ( | ( | F. Floor openings and manhole covers fit securely |  |
| ( | ( | ( | G. Portable ramps and dockboards fit securely |  |

| 3. Sanitation |
| --- |
| Yes | No | N/A |  | Comments |
| ( | ( | ( | A. Waste containers in washrooms and lunchrooms |  |
| ( | ( | ( | B. Soap and sanitary towels in washrooms. |  |
| ( | ( | ( | C. Facility is clean and sanitary |  |

| 4. Emergency Exits |
| --- |
| Yes | No | N/A |  | Comments |
| ( | ( | ( | A. Exits clearly marked |  |
| ( | ( | ( | B. Exits unobstructed and unlocked |  |
| ( | ( | ( | C. Exit doors swing outward |  |
| ( | ( | ( | D. Door closures on all exit doors |  |

| 5. Fire Protection |
| --- |
| Yes | No | N/A |  | Comments |
| ( | ( | ( | A. Fire extinguishes accessible to all staff |  |
| ( | ( | ( | B. Fire extinguishers inspected regularly for damage or discharge (please check inspection date) |  |
| ( | ( | ( | C. Fire extinguishers have current supplier inspection tag |  |
| ( | ( | ( | D. Staff trained in fire extinguisher use |  |
| ( | ( | ( | E. Fire alarm pulls marked, functional and unobstructed |  |
| ( | ( | ( | F. Firefighting hose outlets unobstructed |  |
| ( | ( | ( | G. Flammable materials safely stored |  |
| ( | ( | ( | H. Less than 20% of corridor wall space covered with paper |  |

| 6. Electrical |
| --- |
| Yes | No | N/A |  | Comments |
| ( | ( | ( | A. Cover plates, switches and outlets in good condition |  |
| ( | ( | ( | B. Electrical cords in good repair and grounded plug in good condition |  |
| ( | ( | ( | C. Electrical panels labelled and unobstructed |  |

| 7. Lighting |
| --- |
| Yes | No | N/A |  | Comments |
| ( | ( | ( | A. Lighting fixtures in good condition |  |
| ( | ( | ( | B. Emergency lighting system functional Please record date of last test: |  |

| 8. Ladders and Stepstools |
| --- |
| Yes | No | N/A |  | Comments |
| ( | ( | ( | A. Ladders and |  |
| ( | ( | ( | B. Electrical cords in good repair and grounded plug in good condition |  |
| ( | ( | ( | C. Electrical panels labelled and unobstructed |  |

| 9. Boiler Room or Furnace Room |
| --- |
| Yes | No | N/A |  | Comments |
| ( | ( | ( | A. Flammables not stored in boiler room |  |
| ( | ( | ( | B. Floors clean and unobstructed |  |
| ( | ( | ( | C. Vents unobstructed |  |
| ( | ( | ( | D. Emergency lighting systems functional Please record date of last test: |  |

| 10. Storage Areas |
| --- |
| Yes | No | N/A |  | Comments |
| ( | ( | ( | A. Stored material organized and safely stacked |  |
| ( | ( | ( | B. Stored material not projecting into walkways |  |
| ( | ( | ( | C. Shelving stable and secure |  |
| ( | ( | ( | D. Ladder or stepstool readily accessible |  |

| 11. Grounds |
| --- |
| Yes | No | N/A |  | Comments |
| ( | ( | ( | A. Walkways unobstructed and in good condition |  |
| ( | ( | ( | B. Tripping hazards absent |  |
| ( | ( | ( | C. Playground equipment in good condition (seasonal) |  |

| 12. First Aid |
| --- |
| Yes | No | N/A |  | Comments |
| ( | ( | ( | A. Treatment Record Book located with First Aid Attendant or in First Aid Room |  |
| ( | ( | ( | B. Staff understand injury reporting procedure |  |
| ( | ( | ( | C. First Aid kits stocked and location marked |  |
| ( | ( | ( | D. Emergency telephone numbers posted at all telephone locations |  |

| 13. WHMIS |
| --- |
| Yes | No | N/A |  | Comments |
| ( | ( | ( | A. WHMIS MSDS binders complete and accessible to all staff |  |
| ( | ( | ( | B. Hazard Awareness Chart and What’s WHMIS booklet accessible to all staff |  |
| ( | ( | ( | C. All containers of controlled products properly labelled as per WHMIS regulations |  |

14. Other Areas Requiring Attention

ACTION REQUESTED OR TAKEN: (please specify section (i.e. 6B); use additional sheet if necessary)

School Safety Committee Signatures: