**VENTILATION SYSTEM OVERVIEW**

This template has been developed to support school districts in sharing information on ventilation systems at the school level. This includes information on how systems meet requirements for regular inspection and maintenance, and additional mitigations that have been put in place to promote student and staff safety throughout the pandemic.

|  |  |
| --- | --- |
| **School District:** | 50 - Haida Gwaii |
| **School Name:** | All Schools |
| **REQUIREMENT:**  Regular inspection and maintenance of HVAC systems | Yes/No: These are done every 3 months or as needed.  Yes |
| Date of last inspection: August  Click to enter a date. |
| Date of next inspection: November  Click to enter a date. |
| Date and type of most recent maintenance: Change filters |
| **RECOMMENDATION:**  Increase supply of outside air | Yes/No:  Yes |
| Detail: Increased air intake to pull more fresh air into the rooms |
| **RECOMMENDATION:**  Upgrade filtration, including installing MERV-13 filters, where possible | Yes/No:  Yes |
| Detail (Including filter grade):  Merv 13 installed at all schools |
| **RECOMMENDATION:** Use other air cleaning or treatment technologies | Yes/No:  No |
| Detail: |
| **RECOMMENDATION:**  Manage energy use and air distribution through building automation control systems | Yes/No:  Yes |
| Detail: Regular checks on the unit ventilators |
| **Other Relevant Information:** |  |
| **District Contact for any Questions:** | Name: Lao Peerless |
| Phone Number: 250-559-8471 ext107 |
| Email: lpeerless@sd50.bc.ca |